## Slide 1: Mechanical Drawings
Simulated Phonomicrosurgery Station

## Slide 2
Mechanical Setup Base Piece Placement
Linear Rail
2” x 3” base plates were placed on the outside of the rail because it has metric spacing and the board is standard (holes every inch). Therefore only one screw could be attached to the rail. The base plates are flush against the rail to ensure alignment and prevent it from moving.
Pole Mounts
5th Hole from left
11th Hole from bottom
3rd Hole from left
11th Hole from bottom
3rd Hole from left
13th Hole from bottom
5th Hole from left
13th Hole from bottom
4th Hole from right
11th Hole from bottom
2nd Hole from right
11th Hole from bottom
2nd Hole from right
12th Hole from bottom
4th Hole from right
12th Hole from bottom
One pole was mounted with adjustable horizontal position and the other was mounted with adjustable vertical position. This is very important as the LDS mounting was slightly off, so these adjustments allow correction such that the LDS could be aligned.
Indicates ¼ - 20 screw attached to base board
3rd Hole from left
2nd Hole from bottom
2nd Hole from right
2nd Hole from bottom
10th Hole from Left
9th Hole from Right
2nd Hole from bottom
Rail
Base Plate
Base Plate
10/27/2011

## Slide 3
Mechanical Setup Other Dimensions
Wood Base
6” above base board
LDS
Base Board to bottom of LDS distance = 6”

## Slide 4
Camera Rig Mechanical Schematic
3/25/2011
Y
X
Z
Locking X Position (Linear Rail)
Linear Rail
Locking Y Rotation (Mounting Posts)
Camera Mounting Point. Provides locking X Rotation
2” x 3” Base Plate
Machined Mounting Rectangle w/ ¼”-20nc Threading to mount base plate, & ¼” hole for post connection
Mounting Post
Linear Translation Stage
Y
Z
X
Y
- Z
- X

## Slide 5
Camera to Surgical Volume Depth Design
30 mm
20 mm
20 mm
Z
Laryngoscope
Surgical
Plane
Camera
Surgical Volume
Camera to Surgical Volume
The cameras must be placed such that they capture a volume of space at the exit of the laryngoscope where the surgical instruments interact with the surgical plane. The depth between the lens and the surgical plane determines how distances in the world are projected onto the camera’s sensor. This projection can be modeled using a pinhole model (eq. 1) where f is the focal length. We want to design the camera to volume depth Z such that the entire volume is projected onto the sensor (so we capture the entire scene). This comes down to choosing Z such that the 30 mm x 20 mm frontal plane of the volume fits within the sensor. A simplification can be made because the camera is oriented such that the larger dimension of the sensor is aligned with the larger dimension of the volume. Z is designed for such that larger dimension of the volume is projected onto the larger dimension of the sensor (the other dimension will fit due to the aspect ratio difference of the 4/3 sensor and 1.5/1 volume frontal plane). Based on this equation 2 is utilized to find the minimum Z needed to capture the entire volume.
f = 25 mm (Fujinon TV Lens)
xsensor = 3.2 mm (1/4” sensor) Xworld = 30 mm
Z > 9.23 inches (234.4 mm)
(2)
(1)

## Slide 6
29 mm
35 mm
¼” – 20
29 mm
Ace Camera Dimensions
Linear Rail Stage
61 mm
60 mm
50 mm
Dimensions
LDS
331.79 mm
241.3 mm
50.8 mm
50.8 mm
101.6 mm
76.2 mm
76.2 mm
31.75 mm
331.79 mm
15.95 mm

## Slide 7
Experimental Setup #1 Dimensions
Particle Board Base (old)
360.3625 mm
450.85 mm
450.85 mm
19.05 mm
76.17 mm
76.25 mm
76.17 mm
25.10 mm
12.75 mm
307.18 mm
61.88 mm
21.00 mm
Linear Rail

## Slide 8
44.75 mm
44.75 mm
24.7 mm
24.7 mm
Precision Stage Platform